## Slide 1: Biomedical Signal Processing Lab session 12
Márton Áron Goda

## Slide 2: Overview
The heart conduction and propagation system
PCG measurement
Normal and abnormal heartsounds
Advanced techniques for PCG analysis
Practice

## Slide 3: The heart conduction and propagation system

## Slide 4: PCG measurement

## Slide 5: Normal and abnormal heartsounds
Abnormal sounds consisting of clicking, rushing, or gurgling noise that are either heard before, between, or after the normal heart sounds.

## Slide 6: Advanced techniques for PCG analysis – 1.
Data Pre-processing :
  Resampling: 1000 Hz
  3rd order bandpass filter: 20-400 Hz
  Heart sound detection - Springer algorithm
Features extraction:
  Time-domain analysis :
    HRV analysis: pNN50, SDNN, RMSSD, mean S1&S2 width
  Frequency-domain analysis :
    DFT: Systole and diastole
    Mean amplitude ratio: A(sys)/A(dia)
  Time and frequency domain analysis:
    Wavelet decomposition
Training and classification:
  SVM

## Slide 7: Advanced techniques for PCG analysis – 2.
Data Pre-processing: Heart sound detection - Springer algorithm

## Slide 8: Advanced techniques for PCG analysis – 3.
Features extraction: pNN50
Ratio between NN50 and the total number of NN intervals

## Slide 9: Advanced techniques for PCG analysis – 3.
Features extraction: SDNN and RMSSD

## Slide 10: Advanced techniques for PCG analysis – 4.
Frequency-domain analysis 1.:

## Slide 11: Advanced techniques for PCG analysis – 5.
Frequency-domain analysis 2.:
Mean amplitude spectral statistics for the training database. The central line represents the median of the frequency bins, while the darkened area refers to a range of 25th to 75th percentiles of the bins.

## Slide 12: Advanced techniques for PCG analysis – 6.
Time and frequency domain analysis:

## Slide 13: Advanced techniques for PCG analysis – 6. Training and classification: SVM